| Number: | 005 | Revision: | 2 |
| --- | --- | --- | --- |
| Title: | Hazard Analysis |
| UNCONTROLLED DOCUMENT UNLESS ISSUED WITH A RED STAMP This document is the confidential property of University of Pittsburgh and Children’s Hospital of Pittsburgh and may not be reproduced without prior written consent. |
| Revision Approvals: | Date |
| Originator | Philip Magcalas | 04/14/2004 |
| Quality Assurance | Lisa Kaczmarski | 04/14/2004 |
| General Management | Sara Doll | 04/14/2004 |

# Purpose

  - To assess the hazards associated with the usage and application of this device.

# Scope

# 2.1 This document serves to provide guidance when designing the proposed device.

# Revision History

  - Initial hazard analysis created (11/06/2003)

  - Updated hazard analysis based on information provided by advisors (04/14/2004)

Initial Hazard Analysis

| Potential Hazards | Causes of Hazardous Condition | Assignment of Risk | Systems Intended Response |
| --- | --- | --- | --- |
| Strain of hand/arm | Improper restraint | 11 | Nothing-manual inspection is required |
| Perfusion impairment |  |  |  |
| Bruising |  |  |  |
| Shock to patient | Electrical problems | 15 | Display registration on voltmeter |
| Shock to administrator |  |  |  |
| Fire |  |  | Alarm triggered by temperature regulations of system |
| Stability of device | Excessive force | 17 | Nothing-manual inspection is required |
|  | Repetitive use |  |  |
|  | Improper manufacturing |  |  |
| Misdiagnosis | Incorrect wiring of connector block | 8 | Calibration error message |
|  | Readability issues |  |  |
|  | Sensitivity |  |  |